## Resumen
GRUPO ASERCOM, S.A. DE C.V.
División Proyectos
To: |  |  |  |  | Date:
BREMBO MEXICO, S.A. DE C.V. |  |  |  |  | Jun 16, 2015
Attention to: |  |  |  |  | Delivery Time:
Héctor Ramirez
Expiration day: |  | 15 days |  |  | Agent:
Terms of Payment: |  | Cash |  |  | Ing. Edgar Robles
In response to your kind request put to it the following quote for the project:
COOPER AND FIBRE FOR ESCOBEDO WAREHOUSE
1 | MDF (190 NODES) |  |  | 31245.09 | USD
2 | IDF 1 (20 NODES) LINK MDF-IDF1 & IDF1-IDF2 |  |  | 14998.3389 | USD
3 | IDF 2 (36 NODES) LINK MDF-IDF2 & IDF2-IDF4 |  |  | 20787.8938 | USD
4 | IDF 3 (48 NODES) LINK MDF-IDF3 & IDF3-IDF5 |  |  | 24560.6885 | USD
5 | IDF 4 LINK MDF-IDF4 & IDF4-IDF5 |  |  | 10985.11 | USD
6 | IDF 5 (8 NODES) LINK MDF-IDF5 |  |  | 12418.3189 | USD
7 | IDF 6 (4 NODES) LINK MDF-IDF6 & IDF6-IDF7 |  |  | 8784.2772 | USD
8 | IDF 7 (4 NODES) LINK MDF-IDF7 |  |  | 7022.0372 | USD
9 | SERVICE (CAR LIFT) |  |  | 11580 | USD
|  |  | Sub-Total en doláres Sin IVA | 142381.7545 | USD
|  |  | Descuento especial del 6.7% | 9539.5776 | USD
|  |  | Total con descuento | 132842.1769 | USD
X | USD | THE PRICES ARE QUOTED IN USD AND EXCLUDE IVA
| MN | THE PRICES ARE QUOTED IN MEXICAN PESOS AND EXCLUDE IVA
Note: | The special discount of 6.7% overall, accounting for 10% off the material
It is considering using existing pipes
This budget is correct except omission or error, any extra work or variation of the scope will be considered during the implementation process.
Grupo Asercom, S.A. de C.V. |  |  | www.grupoasercom.com
Corporativo Monterrey |  |  | Sucursal Guadalajara |  | Sucursal México, D.F.
Joaquín García No. 215, Burócratas del Edo |  |  | Av. Circunvalación Agustín Yáñez No. 2360 Int 4-A |  | Río Lerma No. 26 Col. Cuauhtémoc
Monterrey, N.L. C.P. 64380 |  |  | Col. Arcos Sur Guadalajara, Jal. C.P. 44150 |  | Del. Cuauhtémoc México, D.F. C.P. 06500
Conmutador (81) 1442-4000 |  |  | Tels (33) 3630-5030 y 3630-5033 |  | Tels (55) 5703-0028 y 5703-0141

## MDF
GRUPO ASERCOM, S.A. DE C.V.
División Proyectos
To: |  |  |  |  | Date:
BREMBO MEXICO, S.A. DE C.V. |  |  |  |  | Jun 16, 2015
Attention to: |  |  |  |  | Delivery Time:
Héctor Ramirez
Expiration day: |  | 15 days |  |  | Agent:
Terms of Payment: |  | Cash |  |  | Ing. Edgar Robles
In response to your kind request put to it the following quote for the project:
FIBER OPTIC LINKS AND CABINETS FOR MDF. ESCOBEDO WAREHOUSE
Cant | Description |  |  | Part No. | P.u. Material | P.u. Manpower | Total
Fiber Optice elements rack
Elements Rack
1 | Holds up to twelve FAP or FMP adapter panels. Fixed bulkhead design. Dimensions: 6.62"H x 17.16"W x 11.80"D (168.1mm x 433.3mm x 292.1mm) |  |  | FRME4 | 312.2 | 8 | 320.2
7 | LC 10Gig™ OM3/OM4 FAP loaded with six LC 10Gig™ Duplex Multimode Fiber Optic Adapters (Aqua) with phosphor bronze split sleeves |  |  | FAP6WAQDLC | 82.05 | 8 | 630.35
5 | Blank fiber adapter panel – reserves space for future use. |  |  | FAPB | 5 | 1 | 30
36 | LC 50/125µm OM3/OM4 Multimode Duplex Fiber Optic Connector for 900µm tight-buffered fiber installation; ferrule type, zirconia ceramic |  |  | FLCDMCXAQY | 40.25 | 56 | 3465
7 | LC to LC multimode duplex patch cord, 1.6mm jacketed cable (two duplex LC connectors on each end) – 10Gig™ 50/125µm. |  |  | FXE10-10M1Y | 56.32 | 12 | 478.24
Cooper element MDF
1 | Netshelter SX 42U 750mm wide x 1200mm deep networking enclosure |  |  | AR3340 | 2675 | 98 | 2773
1 | Filler Panels 2UR |  |  | DPFP2 | 22 | 8 | 30
1 | Miscellaneous Tray, Black Color, North |  |  | NORTH509-BKL | 16 | 8 | 24
4 | 48-port patch panel supplied with twelve factory installed CFFP4 type front removable snap-in faceplates. Use label part number C261X030FJJ for laser/inkjet printers |  |  | CPP48WBLY | 56 | 8 | 256
9 | Cable Management - Horizontal, 3.5"H x 20.2"W x 8.9"D (89mm x 513mm x 226mm). Includes extended front covers and two bend radius clips. |  |  | WMPH2E | 70 | 18 | 792
190 | UTP Jack Module, Category 6, RJ45, 8-position, 8-wire universal module. Blue |  |  | CJ688TGBU | 10.4 | 3.2 | 2584
2 | Blank Module, Mini-Com® 1-port blank module, reserves space for future use. |  |  | CMBBL | 0.3 | 0.1 | 0.8
190 | Category 6, UTP patch cord with TX6™ PLUS Modular Plugs on each end. Blue |  |  | UTPSP7BU | 10.2 | 0.8 | 2090
9150 | Enhanced, Category 6, CM, 4-pair, UTP copper cable. Copper conductors are 24 AWG with polyethylene insulation. Conductors are twisted in pairs, and all four pairs are protected by a PVC jacket. Color blue |  |  | PUC6004BU | 0.89 | 0.32 | 11071.5
190 | Category 6, UTP patch cord with TX6™ PLUS Modular Plugs on each end. Blue |  |  | UTPSP9BU | 11 | 0.8 | 2242
190 | Single gang, vertical faceplate accepts two Mini-Com® Modules |  |  | CFPE2WH | 2.6 | 0.8 | 646
190 | UTP Jack Module, Category 6, RJ45, 8-position, 8-wire universal module. Blue |  |  | CJ688TGBU | 10.4 | 3.2 | 2584
190 | White Module, Mini-Com® 1-port blank module, reserves space for future use. |  |  | CMBWH | 0.3 | 0.1 | 76
190 | Test, Node Identification and labeling |  |  | N/A | 2.8 | 2.4 | 988
1 | Horizontal power strip 15 A, 120V, ten NEMA 5-15R receptacles, one 15 A thermal breaker, 10' power cord with NEMA 5-15P plug. UL and c-UL Listed. Dimensions: 1.7"H x 19.0"W x 3.8"D (44mm x 483mm x 95mm) |  |  | CMRPSH15 | 156 | 8 | 164
|  |  | Sub Total sin IVA |  | 31245.09
X | USD | THE PRICES QUOTED IN THE ATTACHED ARE PRICED AS USD AND PAID AS SUCH. THEY DO NOT INCLUDE TAXES.
| MN | THE PRICES QUOTED IN THE ATTACHED ARE PRICED IN THE NATIONAL MONEY AND DOES NOT INCLUDE TAXES.
Grupo Asercom, S.A. de C.V. |  |  | www.grupoasercom.com
Corporativo Monterrey |  |  | Sucursal Guadalajara |  | Sucursal México, D.F.
Joaquín García No. 215, Burócratas del Edo |  |  | Av. Circunvalación Agustín Yáñez No. 2360 Int 4-A |  | Río Lerma No. 26 Col. Cuauhtémoc
Monterrey, N.L. C.P. 64380 |  |  | Col. Arcos Sur Guadalajara, Jal. C.P. 44150 |  | Del. Cuauhtémoc México, D.F. C.P. 06500
Conmutador (81) 1442-4000 |  |  | Tels (33) 3630-5030 y 3630-5033 |  | Tels (55) 5703-0028 y 5703-0141

## IDF1
GRUPO ASERCOM, S.A. DE C.V.
División Proyectos
To: |  |  |  |  | Date:
BREMBO MEXICO, S.A. DE C.V. |  |  |  |  | Jun 16, 2015
Attention to: |  |  |  |  | Delivery Time:
Héctor Ramirez
Expiration day: |  | 15 days |  |  | Agent:
Terms of Payment: |  | Cash |  |  | Ing. Edgar Robles
In response to your kind request put to it the following quote for the project:
FIBER OPTIC LINKS AND CABINETS FOR IDF 1. ESCOBEDO WAREHOUSE
Cant | Description |  |  | Part No. | P.u. Material | P.u. Manpower | Total
Fiber Optic Link MDF to IDF 1
Elements Rack
100 | 12-fiber OM3 10 GbE multimode riser rated indoor/outdoor central cable |  |  | FOCRX12Y | 8.2 | 8.4 | 1660
1 | Holds up to six FAP or FMP adapter panels or FOSM splice modules. Bi-directional sliding drawers provides front and rear access to fibers. Dimensions: 3.48"H x 17.00"W x 14.20"D (88.0mm x 432.0mm x 361.0mm) |  |  | FRME2U | 272 | 8 | 280
1 | LC 10Gig™ OM3/OM4 FAP loaded with six LC 10Gig™ Duplex Multimode Fiber Optic Adapters (Aqua) with phosphor bronze split sleeves |  |  | FAP6WAQDLC | 82.05 | 8 | 90.05
4 | Blank fiber adapter panel – reserves space for future use. |  |  | FAPB | 5 | 1 | 24
6 | LC 50/125µm OM3/OM4 Multimode Duplex Fiber Optic Connector for 900µm tight-buffered fiber installation; ferrule type, zirconia ceramic |  |  | FLCDMCXAQY | 40.25 | 56 | 577.5
1 | LC to LC multimode duplex patch cord, 1.6mm jacketed cable (two duplex LC connectors on each end) – 10Gig™ 50/125µm. |  |  | FXE10-10M1Y | 56.32 | 12 | 68.32
12 | Scan Tests with Simple Fiber Fluke Networks, Identification and Labeling in Optical Fiber yarn |  |  | N/A | 8 | 12 | 240
Fiber Optic Link IDF 1 to IDF 2 (Redundancy)
Elements Rack
145 | 6-fiber OM3 10 GbE multimode riser rated indoor/outdoor central cable |  |  | FOCRX06Y | 5.2 | 8.4 | 1972
2 | LC 10Gig™ OM3/OM4 FAP loaded with six LC 10Gig™ Duplex Multimode Fiber Optic Adapters (Aqua) with phosphor bronze split sleeves |  |  | FAP6WAQDLC | 82.05 | 8 | 180.1
6 | LC 50/125µm OM3/OM4 Multimode Duplex Fiber Optic Connector for 900µm tight-buffered fiber installation; ferrule type, zirconia ceramic |  |  | FLCDMCXAQY | 40.25 | 56 | 577.5
2 | LC to LC multimode duplex patch cord, 1.6mm jacketed cable (two duplex LC connectors on each end) – 10Gig™ 50/125µm. |  |  | FXE10-10M1Y | 56.32 | 12 | 136.64
6 | Scan Tests with Simple Fiber Fluke Networks, Identification and Labeling in Optical Fiber yarn |  |  | N/A | 8 | 12 | 120
Cooper element IDF 1
1 | Netshelter SX 42U 750mm wide x 1200mm deep networking enclosure |  |  | AR3340 | 2675 | 98 | 2773
1 | Filler Panels 2UR |  |  | DPFP2 | 22 | 8 | 30
1 | Miscellaneous Tray, Black Color, North |  |  | NORTH509-BKL | 16 | 8 | 24
1 | 24-port patch panel supplied with six factory installed CFFP4 type front removable snap-in faceplates. Use label part number C261X030FJJ for laserinkjet printer. |  |  | CPP24WBLY | 30 | 8 | 38
2 | Cable Management - Horizontal, 3.5"H x 20.2"W x 8.9"D (89mm x 513mm x 226mm). Includes extended front covers and two bend radius clips. |  |  | WMPH2E | 70 | 18 | 176
20 | UTP Jack Module, Category 6, RJ45, 8-position, 8-wire universal module. Blue |  |  | CJ688TGBU | 10.4 | 3.2 | 272
4 | Blank Module, Mini-Com® 1-port blank module, reserves space for future use. |  |  | CMBBL | 0.3 | 0.1 | 1.6
20 | Category 6, UTP patch cord with TX6™ PLUS Modular Plugs on each end. |  |  | UTPSP7BU | 10.2 | 0.8 | 220
1830 | Enhanced, Category 6, CM, 4-pair, UTP copper cable. Copper conductors are 24 AWG with polyethylene insulation. Conductors are twisted in pairs, and all four pairs are protected by a PVC jacket. Color blue |  |  | PUC6004BU | 0.89 | 0.32 | 2214.3
20 | Category 6, UTP patch cord with TX6™ PLUS Modular Plugs on each end. |  |  | UTPSP9BU | 11 | 0.8 | 236
20 | Single gang, vertical faceplate accepts two Mini-Com® Modules |  |  | CFPE2WH | 2.6 | 0.8 | 68
20 | UTP Jack Module, Category 6, RJ45, 8-position, 8-wire universal module. Blue |  |  | CJ688TGBU | 10.4 | 3.2 | 272
20 | White Module, Mini-Com® 1-port blank module, reserves space for future use. |  |  | CMBWH | 0.3 | 0.1 | 8
20 | Test, Node Identification and labeling |  |  | N/A | 2.8 | 2.4 | 104
1 | Horizontal power strip 15 A, 120V, ten NEMA 5-15R receptacles, one 15 A thermal breaker, 10' power cord with NEMA 5-15P plug. UL and c-UL Listed. Dimensions: 1.7"H x 19.0"W x 3.8"D (44mm x 483mm x 95mm) |  |  | CMRPSH15 | 156 | 8 | 164
INFRAESTRUCTURE
90 | Thin Wall Pipe Conduit 3/4" |  |  | N/A | 4.01 | 1.5223 | 497.9105
10 | Elbow thin wall conduit 3/4" |  |  | N/A | 1.0123 | 0.40492 | 14.1723
110 | Coupling thin wall 3/4" |  |  | N/A | 0.38877 | 0.15551 | 59.8705
20 | Connector 3/4" |  |  | N/A | 0.4 | 0.15378 | 11.0757
20 | Locking and Monitor 3/4" |  |  | N/A | 0.47 | 0.19 | 13.2
10 | Box 2X4" |  |  | N/A | 0.22 | 0.09 | 3.1
180 | Counduit pipe support |  |  | N/A | 6.2 | 4.2 | 1872
|  |  | Sub Total sin IVA |  | 14998.3389
X | USD | THE PRICES QUOTED IN THE ATTACHED ARE PRICED AS USD AND PAID AS SUCH. THEY DO NOT INCLUDE TAXES.
| MN | THE PRICES QUOTED IN THE ATTACHED ARE PRICED IN THE NATIONAL MONEY AND DOES NOT INCLUDE TAXES.
Grupo Asercom, S.A. de C.V. |  |  | www.grupoasercom.com
Corporativo Monterrey |  |  | Sucursal Guadalajara |  | Sucursal México, D.F.
Joaquín García No. 215, Burócratas del Edo |  |  | Av. Circunvalación Agustín Yáñez No. 2360 Int 4-A |  | Río Lerma No. 26 Col. Cuauhtémoc
Monterrey, N.L. C.P. 64380 |  |  | Col. Arcos Sur Guadalajara, Jal. C.P. 44150 |  | Del. Cuauhtémoc México, D.F. C.P. 06500
Conmutador (81) 1442-4000 |  |  | Tels (33) 3630-5030 y 3630-5033 |  | Tels (55) 5703-0028 y 5703-0141

## IDF2
GRUPO ASERCOM, S.A. DE C.V.
División Proyectos
To: |  |  |  |  | Date:
BREMBO MEXICO, S.A. DE C.V. |  |  |  |  | Jun 16, 2015
Attention to: |  |  |  |  | Delivery Time:
Héctor Ramirez
Expiration day: |  | 15 days |  |  | Agent:
Terms of Payment: |  | Cash |  |  | Ing. Edgar Robles
In response to your kind request put to it the following quote for the project:
FIBER OPTIC LINKS AND CABINETS FOR IDF 2. ESCOBEDO WAREHOUSE
Cant | Description |  |  | Part No. | P.u. Material | P.u. Manpower | Total
Fiber Optic Link MDF to IDF 2
Elements Rack
165 | 12-fiber OM3 10 GbE multimode riser rated indoor/outdoor central cable |  |  | FOCRX12Y | 8.2 | 8.4 | 2739
1 | Holds up to six FAP or FMP adapter panels or FOSM splice modules. Bi-directional sliding drawers provides front and rear access to fibers. Dimensions: 3.48"H x 17.00"W x 14.20"D (88.0mm x 432.0mm x 361.0mm) |  |  | FRME2U | 272 | 8 | 280
1 | LC 10Gig™ OM3/OM4 FAP loaded with six LC 10Gig™ Duplex Multimode Fiber Optic Adapters (Aqua) with phosphor bronze split sleeves |  |  | FAP6WAQDLC | 82.05 | 8 | 90.05
3 | Blank fiber adapter panel – reserves space for future use. |  |  | FAPB | 5 | 1 | 18
6 | LC 50/125µm OM3/OM4 Multimode Duplex Fiber Optic Connector for 900µm tight-buffered fiber installation; ferrule type, zirconia ceramic |  |  | FLCDMCXAQY | 40.25 | 56 | 577.5
1 | LC to LC multimode duplex patch cord, 1.6mm jacketed cable (two duplex LC connectors on each end) – 10Gig™ 50/125µm. |  |  | FXE10-10M1Y | 56.32 | 12 | 68.32
12 | Scan Tests with Simple Fiber Fluke Networks, Identification and Labeling in Optical Fiber yarn |  |  | N/A | 8 | 12 | 240
Fiber Optic Link IDF 2 to IDF 4 (Redundancy)
Elements Rack
190 | 6-fiber OM3 10 GbE multimode riser rated indoor/outdoor central cable |  |  | FOCRX06Y | 5.2 | 8.4 | 2584
2 | LC 10Gig™ OM3/OM4 FAP loaded with six LC 10Gig™ Duplex Multimode Fiber Optic Adapters (Aqua) with phosphor bronze split sleeves |  |  | FAP6WAQDLC | 82.05 | 8 | 180.1
6 | LC 50/125µm OM3/OM4 Multimode Duplex Fiber Optic Connector for 900µm tight-buffered fiber installation; ferrule type, zirconia ceramic |  |  | FLCDMCXAQY | 40.25 | 56 | 577.5
2 | LC to LC multimode duplex patch cord, 1.6mm jacketed cable (two duplex LC connectors on each end) – 10Gig™ 50/125µm. |  |  | FXE10-10M1Y | 56.32 | 12 | 136.64
6 | Scan Tests with Simple Fiber Fluke Networks, Identification and Labeling in Optical Fiber yarn |  |  | N/A | 8 | 12 | 120
Cooper element IDF 2
1 | Netshelter SX 42U 750mm wide x 1200mm deep networking enclosure |  |  | AR3340 | 2675 | 98 | 2773
1 | Filler Panels 2UR |  |  | DPFP2 | 22 | 8 | 30
1 | Miscellaneous Tray, Black Color, North |  |  | NORTH509-BKL | 16 | 8 | 24
1 | 48-port patch panel supplied with twelve factory installed CFFP4 type front removable snap-in faceplates. Use label part number C261X030FJJ for laser/inkjet printers |  |  | CPP48WBLY | 56 | 8 | 64
3 | Cable Management - Horizontal, 3.5"H x 20.2"W x 8.9"D (89mm x 513mm x 226mm). Includes extended front covers and two bend radius clips. |  |  | WMPH2E | 70 | 18 | 264
36 | UTP Jack Module, Category 6, RJ45, 8-position, 8-wire universal module. Blue |  |  | CJ688TGBU | 10.4 | 3.2 | 489.6
12 | Blank Module, Mini-Com® 1-port blank module, reserves space for future use. |  |  | CMBBL | 0.3 | 0.1 | 4.8
36 | Category 6, UTP patch cord with TX6™ PLUS Modular Plugs on each end. |  |  | UTPSP7BU | 10.2 | 0.8 | 396
3355 | Enhanced, Category 6, CM, 4-pair, UTP copper cable. Copper conductors are 24 AWG with polyethylene insulation. Conductors are twisted in pairs, and all four pairs are protected by a PVC jacket. Color blue |  |  | PUC6004BU | 0.89 | 0.32 | 4059.55
36 | Category 6, UTP patch cord with TX6™ PLUS Modular Plugs on each end. |  |  | UTPSP9BU | 11 | 0.8 | 424.8
36 | Single gang, vertical faceplate accepts two Mini-Com® Modules |  |  | CFPE2WH | 2.6 | 0.8 | 122.4
36 | UTP Jack Module, Category 6, RJ45, 8-position, 8-wire universal module. Blue |  |  | CJ688TGBU | 10.4 | 3.2 | 489.6
36 | White Module, Mini-Com® 1-port blank module, reserves space for future use. |  |  | CMBWH | 0.3 | 0.1 | 14.4
36 | Test, Node Identification and labeling |  |  | N/A | 2.8 | 2.4 | 187.2
1 | Horizontal power strip 15 A, 120V, ten NEMA 5-15R receptacles, one 15 A thermal breaker, 10' power cord with NEMA 5-15P plug. UL and c-UL Listed. Dimensions: 1.7"H x 19.0"W x 3.8"D (44mm x 483mm x 95mm) |  |  | CMRPSH15 | 156 | 8 | 164
INFRAESTRUCTURE
133 | Thin Wall Pipe Conduit 3/4" |  |  | N/A | 4.01 | 1.5223 | 735.801
16 | Elbow thin wall conduit 3/4" |  |  | N/A | 1.0123 | 0.40492 | 22.6757
165 | Coupling thin wall 3/4" |  |  | N/A | 0.38877 | 0.15551 | 89.8057
40 | Connector 3/4" |  |  | N/A | 0.4 | 0.15378 | 22.1514
40 | Locking and Monitor 3/4" |  |  | N/A | 0.47 | 0.19 | 26.4
20 | Box 2X4" |  |  | N/A | 0.22 | 0.09 | 6.2
266 | Counduit pipe support |  |  | N/A | 6.2 | 4.2 | 2766.4
|  |  | Sub Total sin IVA |  | 20787.8938
X | USD | THE PRICES QUOTED IN THE ATTACHED ARE PRICED AS USD AND PAID AS SUCH. THEY DO NOT INCLUDE TAXES.
| MN | THE PRICES QUOTED IN THE ATTACHED ARE PRICED IN THE NATIONAL MONEY AND DOES NOT INCLUDE TAXES.
Grupo Asercom, S.A. de C.V. |  |  | www.grupoasercom.com
Corporativo Monterrey |  |  | Sucursal Guadalajara |  | Sucursal México, D.F.
Joaquín García No. 215, Burócratas del Edo |  |  | Av. Circunvalación Agustín Yáñez No. 2360 Int 4-A |  | Río Lerma No. 26 Col. Cuauhtémoc
Monterrey, N.L. C.P. 64380 |  |  | Col. Arcos Sur Guadalajara, Jal. C.P. 44150 |  | Del. Cuauhtémoc México, D.F. C.P. 06500
Conmutador (81) 1442-4000 |  |  | Tels (33) 3630-5030 y 3630-5033 |  | Tels (55) 5703-0028 y 5703-0141

## IDF3
GRUPO ASERCOM, S.A. DE C.V.
División Proyectos
To: |  |  |  |  | Date:
BREMBO MEXICO, S.A. DE C.V. |  |  |  |  | Jun 16, 2015
Attention to: |  |  |  |  | Delivery Time:
Héctor Ramirez
Expiration day: |  | 15 days |  |  | Agent:
Terms of Payment: |  | Cash |  |  | Ing. Edgar Robles
In response to your kind request put to it the following quote for the project:
FIBER OPTIC LINKS AND CABINETS FOR IDF 3. ESCOBEDO WAREHOUSE
Cant | Description |  |  | Part No. | P.u. Material | P.u. Manpower | Total
Fiber Optic Link MDF to IDF 3
Elements Rack
244 | 12-fiber OM3 10 GbE multimode riser rated indoor/outdoor central cable |  |  | FOCRX12Y | 8.2 | 8.4 | 4050.4
1 | Holds up to six FAP or FMP adapter panels or FOSM splice modules. Bi-directional sliding drawers provides front and rear access to fibers. Dimensions: 3.48"H x 17.00"W x 14.20"D (88.0mm x 432.0mm x 361.0mm) |  |  | FRME2U | 272 | 8 | 280
1 | LC 10Gig™ OM3/OM4 FAP loaded with six LC 10Gig™ Duplex Multimode Fiber Optic Adapters (Aqua) with phosphor bronze split sleeves |  |  | FAP6WAQDLC | 82.05 | 8 | 90.05
4 | Blank fiber adapter panel – reserves space for future use. |  |  | FAPB | 5 | 1 | 24
6 | LC 50/125µm OM3/OM4 Multimode Duplex Fiber Optic Connector for 900µm tight-buffered fiber installation; ferrule type, zirconia ceramic |  |  | FLCDMCXAQY | 40.25 | 56 | 577.5
1 | LC to LC multimode duplex patch cord, 1.6mm jacketed cable (two duplex LC connectors on each end) – 10Gig™ 50/125µm. |  |  | FXE10-10M1Y | 56.32 | 12 | 68.32
12 | Scan Tests with Simple Fiber Fluke Networks, Identification and Labeling in Optical Fiber yarn |  |  | N/A | 8 | 12 | 240
Fiber Optic Link IDF 3 to IDF 5 (Redundancy)
Elements Rack
130 | 6-fiber OM3 10 GbE multimode riser rated indoor/outdoor central cable |  |  | FOCRX06Y | 5.2 | 8.4 | 1768
2 | LC 10Gig™ OM3/OM4 FAP loaded with six LC 10Gig™ Duplex Multimode Fiber Optic Adapters (Aqua) with phosphor bronze split sleeves |  |  | FAP6WAQDLC | 82.05 | 8 | 180.1
6 | LC 50/125µm OM3/OM4 Multimode Duplex Fiber Optic Connector for 900µm tight-buffered fiber installation; ferrule type, zirconia ceramic |  |  | FLCDMCXAQY | 40.25 | 56 | 577.5
2 | LC to LC multimode duplex patch cord, 1.6mm jacketed cable (two duplex LC connectors on each end) – 10Gig™ 50/125µm. |  |  | FXE10-10M1Y | 56.32 | 12 | 136.64
6 | Scan Tests with Simple Fiber Fluke Networks, Identification and Labeling in Optical Fiber yarn |  |  | N/A | 8 | 12 | 120
Cooper element IDF 3
1 | Netshelter SX 42U 750mm wide x 1200mm deep networking enclosure |  |  | AR3340 | 2675 | 98 | 2773
1 | Filler Panels 2UR |  |  | DPFP2 | 22 | 8 | 30
1 | Miscellaneous Tray, Black Color, North |  |  | NORTH509-BKL | 16 | 8 | 24
1 | 48-port patch panel supplied with twelve factory installed CFFP4 type front removable snap-in faceplates. Use label part number C261X030FJJ for laser/inkjet printers |  |  | CPP48WBLY | 56 | 8 | 64
3 | Cable Management - Horizontal, 3.5"H x 20.2"W x 8.9"D (89mm x 513mm x 226mm). Includes extended front covers and two bend radius clips. |  |  | WMPH2E | 70 | 18 | 264
48 | UTP Jack Module, Category 6, RJ45, 8-position, 8-wire universal module. Blue |  |  | CJ688TGBU | 10.4 | 3.2 | 652.8
48 | Category 6, UTP patch cord with TX6™ PLUS Modular Plugs on each end. |  |  | UTPSP7BU | 10.2 | 0.8 | 528
4270 | Enhanced, Category 6, CM, 4-pair, UTP copper cable. Copper conductors are 24 AWG with polyethylene insulation. Conductors are twisted in pairs, and all four pairs are protected by a PVC jacket. Color blue |  |  | PUC6004BU | 0.89 | 0.32 | 5166.7
48 | Category 6, UTP patch cord with TX6™ PLUS Modular Plugs on each end. |  |  | UTPSP9BU | 11 | 0.8 | 566.4
48 | Single gang, vertical faceplate accepts two Mini-Com® Modules |  |  | CFPE2WH | 2.6 | 0.8 | 163.2
48 | UTP Jack Module, Category 6, RJ45, 8-position, 8-wire universal module. Blue |  |  | CJ688TGBU | 10.4 | 3.2 | 652.8
48 | White Module, Mini-Com® 1-port blank module, reserves space for future use. |  |  | CMBWH | 0.3 | 0.1 | 19.2
48 | Test, Node Identification and labeling |  |  | N/A | 2.8 | 2.4 | 249.6
1 | Horizontal power strip 15 A, 120V, ten NEMA 5-15R receptacles, one 15 A thermal breaker, 10' power cord with NEMA 5-15P plug. UL and c-UL Listed. Dimensions: 1.7"H x 19.0"W x 3.8"D (44mm x 483mm x 95mm) |  |  | CMRPSH15 | 156 | 8 | 164
INFRAESTRUCTURE
20 | Thin Wall Pipe Conduit 1" |  |  | N/A | 8.23 | 3.29 | 230.4
4 | Elbow thin wall conduit 1" |  |  | N/A | 2.51 | 1 | 14.04
28 | Coupling thin wall 1" |  |  | N/A | 0.78 | 0.31 | 30.52
8 | Connector 1" |  |  | N/A | 0.84 | 0.34 | 9.44
8 | Locking and Monitor 1" |  |  | N/A | 0.52 | 0.21 | 5.84
4 | Box 5X5" |  |  | N/A | 2.8 | 1.12 | 15.68
40 | Counduit pipe support |  |  | N/A | 6.2 | 4.2 | 416
160 | Thin Wall Pipe Conduit 3/4" |  |  | N/A | 4.01 | 1.5223 | 885.1742
17 | Elbow thin wall conduit 3/4" |  |  | N/A | 1.0123 | 0.40492 | 24.0929
194 | Coupling thin wall 3/4" |  |  | N/A | 0.38877 | 0.15551 | 105.5897
48 | Connector 3/4" |  |  | N/A | 0.4 | 0.15378 | 26.5817
48 | Locking and Monitor 3/4" |  |  | N/A | 0.47 | 0.19 | 31.68
24 | Box 2X4" |  |  | N/A | 0.22 | 0.09 | 7.44
320 | Counduit pipe support |  |  | N/A | 6.2 | 4.2 | 3328
|  |  | Sub Total sin IVA |  | 24560.6885
X | USD | THE PRICES QUOTED IN THE ATTACHED ARE PRICED AS USD AND PAID AS SUCH. THEY DO NOT INCLUDE TAXES.
| MN | THE PRICES QUOTED IN THE ATTACHED ARE PRICED IN THE NATIONAL MONEY AND DOES NOT INCLUDE TAXES.
Grupo Asercom, S.A. de C.V. |  |  | www.grupoasercom.com
Corporativo Monterrey |  |  | Sucursal Guadalajara |  | Sucursal México, D.F.
Joaquín García No. 215, Burócratas del Edo |  |  | Av. Circunvalación Agustín Yáñez No. 2360 Int 4-A |  | Río Lerma No. 26 Col. Cuauhtémoc
Monterrey, N.L. C.P. 64380 |  |  | Col. Arcos Sur Guadalajara, Jal. C.P. 44150 |  | Del. Cuauhtémoc México, D.F. C.P. 06500
Conmutador (81) 1442-4000 |  |  | Tels (33) 3630-5030 y 3630-5033 |  | Tels (55) 5703-0028 y 5703-0141

## IDF4
GRUPO ASERCOM, S.A. DE C.V.
División Proyectos
To: |  |  |  |  | Date:
BREMBO MEXICO, S.A. DE C.V. |  |  |  |  | Jun 16, 2015
Attention to: |  |  |  |  | Delivery Time:
Héctor Ramirez
Expiration day: |  | 15 days |  |  | Agent:
Terms of Payment: |  | Cash |  |  | Ing. Edgar Robles
In response to your kind request put to it the following quote for the project:
FIBER OPTIC LINKS AND CABINETS FOR IDF 4. ESCOBEDO WAREHOUSE
Cant | Description |  |  | Part No. | P.u. Material | P.u. Manpower | Total
Fiber Optic Link MDF to IDF 4
Elements Rack
270 | 12-fiber OM3 10 GbE multimode riser rated indoor/outdoor central cable |  |  | FOCRX12Y | 8.2 | 8.4 | 4482
1 | Holds up to six FAP or FMP adapter panels or FOSM splice modules. Bi-directional sliding drawers provides front and rear access to fibers. Dimensions: 3.48"H x 17.00"W x 14.20"D (88.0mm x 432.0mm x 361.0mm) |  |  | FRME2U | 272 | 8 | 280
1 | LC 10Gig™ OM3/OM4 FAP loaded with six LC 10Gig™ Duplex Multimode Fiber Optic Adapters (Aqua) with phosphor bronze split sleeves |  |  | FAP6WAQDLC | 82.05 | 8 | 90.05
3 | Blank fiber adapter panel – reserves space for future use. |  |  | FAPB | 5 | 1 | 18
6 | LC 50/125µm OM3/OM4 Multimode Duplex Fiber Optic Connector for 900µm tight-buffered fiber installation; ferrule type, zirconia ceramic |  |  | FLCDMCXAQY | 40.25 | 56 | 577.5
1 | LC to LC multimode duplex patch cord, 1.6mm jacketed cable (two duplex LC connectors on each end) – 10Gig™ 50/125µm. |  |  | FXE10-10M1Y | 56.32 | 12 | 68.32
12 | Scan Tests with Simple Fiber Fluke Networks, Identification and Labeling in Optical Fiber yarn |  |  | N/A | 8 | 12 | 240
Fiber Optic Link IDF 4 to IDF 5 (Redundancy)
Elements Rack
90 | 6-fiber OM3 10 GbE multimode riser rated indoor/outdoor central cable |  |  | FOCRX06Y | 5.2 | 8.4 | 1224
2 | LC 10Gig™ OM3/OM4 FAP loaded with six LC 10Gig™ Duplex Multimode Fiber Optic Adapters (Aqua) with phosphor bronze split sleeves |  |  | FAP6WAQDLC | 82.05 | 8 | 180.1
6 | LC 50/125µm OM3/OM4 Multimode Duplex Fiber Optic Connector for 900µm tight-buffered fiber installation; ferrule type, zirconia ceramic |  |  | FLCDMCXAQY | 40.25 | 56 | 577.5
2 | LC to LC multimode duplex patch cord, 1.6mm jacketed cable (two duplex LC connectors on each end) – 10Gig™ 50/125µm. |  |  | FXE10-10M1Y | 56.32 | 12 | 136.64
6 | Scan Tests with Simple Fiber Fluke Networks, Identification and Labeling in Optical Fiber yarn |  |  | N/A | 8 | 12 | 120
Cooper element IDF 4
1 | Netshelter SX 42U 750mm wide x 1200mm deep networking enclosure |  |  | AR3340 | 2675 | 98 | 2773
1 | Filler Panels 2UR |  |  | DPFP2 | 22 | 8 | 30
1 | Miscellaneous Tray, Black Color, North |  |  | NORTH509-BKL | 16 | 8 | 24
0 | 48-port patch panel supplied with twelve factory installed CFFP4 type front removable snap-in faceplates. Use label part number C261X030FJJ for laser/inkjet printers |  |  | CPP48WBLY | 56 | 8 | 0
0 | Cable Management - Horizontal, 3.5"H x 20.2"W x 8.9"D (89mm x 513mm x 226mm). Includes extended front covers and two bend radius clips. |  |  | WMPH2E | 70 | 18 | 0
0 | UTP Jack Module, Category 6, RJ45, 8-position, 8-wire universal module. Blue |  |  | CJ688TGBU | 10.4 | 3.2 | 0
0 | Blank Module, Mini-Com® 1-port blank module, reserves space for future use. |  |  | CMBBL | 0.3 | 0.1 | 0
0 | Category 6, UTP patch cord with TX6™ PLUS Modular Plugs on each end. |  |  | UTPSP7BU | 10.2 | 0.8 | 0
0 | Enhanced, Category 6, CM, 4-pair, UTP copper cable. Copper conductors are 24 AWG with polyethylene insulation. Conductors are twisted in pairs, and all four pairs are protected by a PVC jacket. Color blue |  |  | PUC6004BU | 0.89 | 0.32 | 0
0 | Category 6, UTP patch cord with TX6™ PLUS Modular Plugs on each end. |  |  | UTPSP9BU | 11 | 0.8 | 0
0 | Single gang, vertical faceplate accepts two Mini-Com® Modules |  |  | CFPE2WH | 2.6 | 0.8 | 0
0 | UTP Jack Module, Category 6, RJ45, 8-position, 8-wire universal module. Blue |  |  | CJ688TGBU | 10.4 | 3.2 | 0
0 | White Module, Mini-Com® 1-port blank module, reserves space for future use. |  |  | CMBWH | 0.3 | 0.1 | 0
0 | Test, Node Identification and labeling |  |  | N/A | 2.8 | 2.4 | 0
1 | Horizontal power strip 15 A, 120V, ten NEMA 5-15R receptacles, one 15 A thermal breaker, 10' power cord with NEMA 5-15P plug. UL and c-UL Listed. Dimensions: 1.7"H x 19.0"W x 3.8"D (44mm x 483mm x 95mm) |  |  | CMRPSH15 | 156 | 8 | 164
INFRAESTRUCTURE
0 | Thin Wall Pipe Conduit 3/4" |  |  | N/A | 4.01 | 1.5223 | 0
0 | Elbow thin wall conduit 3/4" |  |  | N/A | 1.0123 | 0.40492 | 0
0 | Coupling thin wall 3/4" |  |  | N/A | 0.38877 | 0.15551 | 0
0 | Connector 3/4" |  |  | N/A | 0.4 | 0.15378 | 0
0 | Locking and Monitor 3/4" |  |  | N/A | 0.47 | 0.19 | 0
0 | Box 2X4" |  |  | N/A | 0.22 | 0.09 | 0
0 | Counduit pipe support |  |  | N/A | 6.2 | 4.2 | 0
|  |  | Sub Total sin IVA |  | 10985.11
X | USD | THE PRICES QUOTED IN THE ATTACHED ARE PRICED AS USD AND PAID AS SUCH. THEY DO NOT INCLUDE TAXES.
| MN | THE PRICES QUOTED IN THE ATTACHED ARE PRICED IN THE NATIONAL MONEY AND DOES NOT INCLUDE TAXES.
Grupo Asercom, S.A. de C.V. |  |  | www.grupoasercom.com
Corporativo Monterrey |  |  | Sucursal Guadalajara |  | Sucursal México, D.F.
Joaquín García No. 215, Burócratas del Edo |  |  | Av. Circunvalación Agustín Yáñez No. 2360 Int 4-A |  | Río Lerma No. 26 Col. Cuauhtémoc
Monterrey, N.L. C.P. 64380 |  |  | Col. Arcos Sur Guadalajara, Jal. C.P. 44150 |  | Del. Cuauhtémoc México, D.F. C.P. 06500
Conmutador (81) 1442-4000 |  |  | Tels (33) 3630-5030 y 3630-5033 |  | Tels (55) 5703-0028 y 5703-0141

## IDF5
GRUPO ASERCOM, S.A. DE C.V.
División Proyectos
To: |  |  |  |  | Date:
BREMBO MEXICO, S.A. DE C.V. |  |  |  |  | Jun 16, 2015
Attention to: |  |  |  |  | Delivery Time:
Héctor Ramirez
Expiration day: |  | 15 days |  |  | Agent:
Terms of Payment: |  | Cash |  |  | Ing. Edgar Robles
In response to your kind request put to it the following quote for the project:
FIBER OPTIC LINKS AND CABINETS FOR IDF 5. ESCOBEDO WAREHOUSE
Cant | Description |  |  | Part No. | P.u. Material | P.u. Manpower | Total
Fiber Optic Link MDF to IDF 5
Elements Rack
340 | 12-fiber OM3 10 GbE multimode riser rated indoor/outdoor central cable |  |  | FOCRX12Y | 8.2 | 8.4 | 5644
1 | Holds up to six FAP or FMP adapter panels or FOSM splice modules. Bi-directional sliding drawers provides front and rear access to fibers. Dimensions: 3.48"H x 17.00"W x 14.20"D (88.0mm x 432.0mm x 361.0mm) |  |  | FRME2U | 272 | 8 | 280
1 | LC 10Gig™ OM3/OM4 FAP loaded with six LC 10Gig™ Duplex Multimode Fiber Optic Adapters (Aqua) with phosphor bronze split sleeves |  |  | FAP6WAQDLC | 82.05 | 8 | 90.05
3 | Blank fiber adapter panel – reserves space for future use. |  |  | FAPB | 5 | 1 | 18
6 | LC 50/125µm OM3/OM4 Multimode Duplex Fiber Optic Connector for 900µm tight-buffered fiber installation; ferrule type, zirconia ceramic |  |  | FLCDMCXAQY | 40.25 | 56 | 577.5
1 | LC to LC multimode duplex patch cord, 1.6mm jacketed cable (two duplex LC connectors on each end) – 10Gig™ 50/125µm. |  |  | FXE10-10M1Y | 56.32 | 12 | 68.32
12 | Scan Tests with Simple Fiber Fluke Networks, Identification and Labeling in Optical Fiber yarn |  |  | N/A | 8 | 12 | 240
Cooper element IDF 5
1 | Netshelter SX 42U 750mm wide x 1200mm deep networking enclosure |  |  | AR3340 | 2675 | 98 | 2773
1 | Filler Panels 2UR |  |  | DPFP2 | 22 | 8 | 30
1 | Miscellaneous Tray, Black Color, North |  |  | NORTH509-BKL | 16 | 8 | 24
1 | 24-port patch panel supplied with six factory installed CFFP4 type front removable snap-in faceplates. Use label part number C261X030FJJ for laserinkjet printer. |  |  | CPP24WBLY | 30 | 8 | 38
2 | Cable Management - Horizontal, 3.5"H x 20.2"W x 8.9"D (89mm x 513mm x 226mm). Includes extended front covers and two bend radius clips. |  |  | WMPH2E | 70 | 18 | 176
8 | UTP Jack Module, Category 6, RJ45, 8-position, 8-wire universal module. Blue |  |  | CJ688TGBU | 10.4 | 3.2 | 108.8
16 | Blank Module, Mini-Com® 1-port blank module, reserves space for future use. |  |  | CMBBL | 0.3 | 0.1 | 6.4
8 | Category 6, UTP patch cord with TX6™ PLUS Modular Plugs on each end. |  |  | UTPSP7BU | 10.2 | 0.8 | 88
610 | Enhanced, Category 6, CM, 4-pair, UTP copper cable. Copper conductors are 24 AWG with polyethylene insulation. Conductors are twisted in pairs, and all four pairs are protected by a PVC jacket. Color blue |  |  | PUC6004BU | 0.89 | 0.32 | 738.1
8 | Category 6, UTP patch cord with TX6™ PLUS Modular Plugs on each end. |  |  | UTPSP9BU | 11 | 0.8 | 94.4
8 | Single gang, vertical faceplate accepts two Mini-Com® Modules |  |  | CFPE2WH | 2.6 | 0.8 | 27.2
8 | UTP Jack Module, Category 6, RJ45, 8-position, 8-wire universal module. Blue |  |  | CJ688TGBU | 10.4 | 3.2 | 108.8
8 | White Module, Mini-Com® 1-port blank module, reserves space for future use. |  |  | CMBWH | 0.3 | 0.1 | 3.2
8 | Test, Node Identification and labeling |  |  | N/A | 2.8 | 2.4 | 41.6
1 | Horizontal power strip 15 A, 120V, ten NEMA 5-15R receptacles, one 15 A thermal breaker, 10' power cord with NEMA 5-15P plug. UL and c-UL Listed. Dimensions: 1.7"H x 19.0"W x 3.8"D (44mm x 483mm x 95mm) |  |  | CMRPSH15 | 156 | 8 | 164
INFRAESTRUCTURE
38 | Thin Wall Pipe Conduit 3/4" |  |  | N/A | 4.01 | 1.5223 | 210.2289
46 | Elbow thin wall conduit 3/4" |  |  | N/A | 1.0123 | 0.40492 | 65.1926
4 | Coupling thin wall 3/4" |  |  | N/A | 0.38877 | 0.15551 | 2.1771
8 | Connector 3/4" |  |  | N/A | 0.4 | 0.15378 | 4.4303
8 | Locking and Monitor 3/4" |  |  | N/A | 0.47 | 0.19 | 5.28
4 | Box 2X4" |  |  | N/A | 0.22 | 0.09 | 1.24
76 | Counduit pipe support |  |  | N/A | 6.2 | 4.2 | 790.4
|  |  | Sub Total sin IVA |  | 12418.3189
X | USD | THE PRICES QUOTED IN THE ATTACHED ARE PRICED AS USD AND PAID AS SUCH. THEY DO NOT INCLUDE TAXES.
| MN | THE PRICES QUOTED IN THE ATTACHED ARE PRICED IN THE NATIONAL MONEY AND DOES NOT INCLUDE TAXES.
Grupo Asercom, S.A. de C.V. |  |  | www.grupoasercom.com
Corporativo Monterrey |  |  | Sucursal Guadalajara |  | Sucursal México, D.F.
Joaquín García No. 215, Burócratas del Edo |  |  | Av. Circunvalación Agustín Yáñez No. 2360 Int 4-A |  | Río Lerma No. 26 Col. Cuauhtémoc
Monterrey, N.L. C.P. 64380 |  |  | Col. Arcos Sur Guadalajara, Jal. C.P. 44150 |  | Del. Cuauhtémoc México, D.F. C.P. 06500
Conmutador (81) 1442-4000 |  |  | Tels (33) 3630-5030 y 3630-5033 |  | Tels (55) 5703-0028 y 5703-0141

## IDF6
GRUPO ASERCOM, S.A. DE C.V.
División Proyectos
To: |  |  |  |  | Date:
BREMBO MEXICO, S.A. DE C.V. |  |  |  |  | Jun 16, 2015
Attention to: |  |  |  |  | Delivery Time:
Héctor Ramirez
Expiration day: |  | 15 days |  |  | Agent:
Terms of Payment: |  | Cash |  |  | Ing. Edgar Robles
In response to your kind request put to it the following quote for the project:
FIBER OPTIC LINKS AND CABINETS FOR IDF 6. ESCOBEDO WAREHOUSE
Cant | Description |  |  | Part No. | P.u. Material | P.u. Manpower | Total
Fiber Optic Link MDF to IDF 6
Elements Rack
145 | 6-fiber OM3 10 GbE multimode riser rated indoor/outdoor central cable |  |  | FOCRX06Y | 5.2 | 8.4 | 1972
1 | Holds up to six FAP or FMP adapter panels or FOSM splice modules. Bi-directional sliding drawers provides front and rear access to fibers. Dimensions: 3.48"H x 17.00"W x 14.20"D (88.0mm x 432.0mm x 361.0mm) |  |  | FRME2U | 272 | 8 | 280
1 | LC 10Gig™ OM3/OM4 FAP loaded with six LC 10Gig™ Duplex Multimode Fiber Optic Adapters (Aqua) with phosphor bronze split sleeves |  |  | FAP6WAQDLC | 82.05 | 8 | 90.05
4 | Blank fiber adapter panel – reserves space for future use. |  |  | FAPB | 5 | 1 | 24
3 | LC 50/125µm OM3/OM4 Multimode Duplex Fiber Optic Connector for 900µm tight-buffered fiber installation; ferrule type, zirconia ceramic |  |  | FLCDMCXAQY | 40.25 | 56 | 288.75
1 | LC to LC multimode duplex patch cord, 1.6mm jacketed cable (two duplex LC connectors on each end) – 10Gig™ 50/125µm. |  |  | FXE10-10M1Y | 56.32 | 12 | 68.32
6 | Scan Tests with Simple Fiber Fluke Networks, Identification and Labeling in Optical Fiber yarn |  |  | N/A | 8 | 12 | 120
Fiber Optic Link IDF 6 to IDF 7 (Redundancy)
Elements Rack
150 | 6-fiber OM3 10 GbE multimode riser rated indoor/outdoor central cable |  |  | FOCRX06Y | 5.2 | 8.4 | 2040
2 | LC 10Gig™ OM3/OM4 FAP loaded with six LC 10Gig™ Duplex Multimode Fiber Optic Adapters (Aqua) with phosphor bronze split sleeves |  |  | FAP6WAQDLC | 82.05 | 8 | 180.1
6 | LC 50/125µm OM3/OM4 Multimode Duplex Fiber Optic Connector for 900µm tight-buffered fiber installation; ferrule type, zirconia ceramic |  |  | FLCDMCXAQY | 40.25 | 56 | 577.5
2 | LC to LC multimode duplex patch cord, 1.6mm jacketed cable (two duplex LC connectors on each end) – 10Gig™ 50/125µm. |  |  | FXE10-10M1Y | 56.32 | 12 | 136.64
6 | Scan Tests with Simple Fiber Fluke Networks, Identification and Labeling in Optical Fiber yarn |  |  | N/A | 8 | 12 | 120
Cooper element IDF 6
1 | NetShelter SX 24U 600mm x 1070mm Deep Enclosure |  |  | AR3104 | 1820 | 98 | 1918
1 | Filler Panels 2UR |  |  | DPFP2 | 22 | 8 | 30
1 | Miscellaneous Tray, Black Color, North |  |  | NORTH509-BKL | 16 | 8 | 24
1 | 24-port patch panel supplied with six factory installed CFFP4 type front removable snap-in faceplates. Use label part number C261X030FJJ for laserinkjet printer. |  |  | CPP24WBLY | 30 | 8 | 38
2 | Cable Management - Horizontal, 3.5"H x 20.2"W x 8.9"D (89mm x 513mm x 226mm). Includes extended front covers and two bend radius clips. |  |  | WMPH2E | 70 | 18 | 176
4 | UTP Jack Module, Category 6, RJ45, 8-position, 8-wire universal module. Blue |  |  | CJ688TGBU | 10.4 | 3.2 | 54.4
20 | Blank Module, Mini-Com® 1-port blank module, reserves space for future use. |  |  | CMBBL | 0.3 | 0.1 | 8
4 | Category 6, UTP patch cord with TX6™ PLUS Modular Plugs on each end. |  |  | UTPSP7BU | 10.2 | 0.8 | 44
80 | Enhanced, Category 6, CM, 4-pair, UTP copper cable. Copper conductors are 24 AWG with polyethylene insulation. Conductors are twisted in pairs, and all four pairs are protected by a PVC jacket. Color blue |  |  | PUC6004BU | 0.89 | 0.32 | 96.8
4 | Category 6, UTP patch cord with TX6™ PLUS Modular Plugs on each end. |  |  | UTPSP9BU | 11 | 0.8 | 47.2
4 | Single gang, vertical faceplate accepts two Mini-Com® Modules |  |  | CFPE2WH | 2.6 | 0.8 | 13.6
4 | UTP Jack Module, Category 6, RJ45, 8-position, 8-wire universal module. Blue |  |  | CJ688TGBU | 10.4 | 3.2 | 54.4
4 | White Module, Mini-Com® 1-port blank module, reserves space for future use. |  |  | CMBWH | 0.3 | 0.1 | 1.6
4 | Test, Node Identification and labeling |  |  | N/A | 2.8 | 2.4 | 20.8
1 | Horizontal power strip 15 A, 120V, ten NEMA 5-15R receptacles, one 15 A thermal breaker, 10' power cord with NEMA 5-15P plug. UL and c-UL Listed. Dimensions: 1.7"H x 19.0"W x 3.8"D (44mm x 483mm x 95mm) |  |  | CMRPSH15 | 156 | 8 | 164
INFRAESTRUCTURE
7 | Thin Wall Pipe Conduit 3/4" |  |  | N/A | 4.01 | 1.5223 | 38.7264
1 | Elbow thin wall conduit 3/4" |  |  | N/A | 1.0123 | 0.40492 | 1.4172
9 | Coupling thin wall 3/4" |  |  | N/A | 0.38877 | 0.15551 | 4.8985
4 | Connector 3/4" |  |  | N/A | 0.4 | 0.15378 | 2.2151
4 | Locking and Monitor 3/4" |  |  | N/A | 0.47 | 0.19 | 2.64
2 | Box 2X4" |  |  | N/A | 0.22 | 0.09 | 0.62
14 | Counduit pipe support |  |  | N/A | 6.2 | 4.2 | 145.6
|  |  | Sub Total sin IVA |  | 8784.2772
X | USD | THE PRICES QUOTED IN THE ATTACHED ARE PRICED AS USD AND PAID AS SUCH. THEY DO NOT INCLUDE TAXES.
| MN | THE PRICES QUOTED IN THE ATTACHED ARE PRICED IN THE NATIONAL MONEY AND DOES NOT INCLUDE TAXES.
Grupo Asercom, S.A. de C.V. |  |  | www.grupoasercom.com
Corporativo Monterrey |  |  | Sucursal Guadalajara |  | Sucursal México, D.F.
Joaquín García No. 215, Burócratas del Edo |  |  | Av. Circunvalación Agustín Yáñez No. 2360 Int 4-A |  | Río Lerma No. 26 Col. Cuauhtémoc
Monterrey, N.L. C.P. 64380 |  |  | Col. Arcos Sur Guadalajara, Jal. C.P. 44150 |  | Del. Cuauhtémoc México, D.F. C.P. 06500
Conmutador (81) 1442-4000 |  |  | Tels (33) 3630-5030 y 3630-5033 |  | Tels (55) 5703-0028 y 5703-0141

## IDF7
GRUPO ASERCOM, S.A. DE C.V.
División Proyectos
To: |  |  |  |  | Date:
BREMBO MEXICO, S.A. DE C.V. |  |  |  |  | Jun 16, 2015
Attention to: |  |  |  |  | Delivery Time:
Héctor Ramirez
Expiration day: |  | 15 days |  |  | Agent:
Terms of Payment: |  | Cash |  |  | Ing. Edgar Robles
In response to your kind request put to it the following quote for the project:
FIBER OPTIC LINKS AND CABINETS FOR IDF 6. ESCOBEDO WAREHOUSE
Cant | Description |  |  | Part No. | P.u. Material | P.u. Manpower | Total
Fiber Optic Link MDF to IDF 7
Elements Rack
240 | 6-fiber OM3 10 GbE multimode riser rated indoor/outdoor central cable |  |  | FOCRX06Y | 5.2 | 8.4 | 3264
1 | Holds up to six FAP or FMP adapter panels or FOSM splice modules. Bi-directional sliding drawers provides front and rear access to fibers. Dimensions: 3.48"H x 17.00"W x 14.20"D (88.0mm x 432.0mm x 361.0mm) |  |  | FRME2U | 272 | 8 | 280
1 | LC 10Gig™ OM3/OM4 FAP loaded with six LC 10Gig™ Duplex Multimode Fiber Optic Adapters (Aqua) with phosphor bronze split sleeves |  |  | FAP6WAQDLC | 82.05 | 8 | 90.05
4 | Blank fiber adapter panel – reserves space for future use. |  |  | FAPB | 5 | 1 | 24
3 | LC 50/125µm OM3/OM4 Multimode Duplex Fiber Optic Connector for 900µm tight-buffered fiber installation; ferrule type, zirconia ceramic |  |  | FLCDMCXAQY | 40.25 | 56 | 288.75
1 | LC to LC multimode duplex patch cord, 1.6mm jacketed cable (two duplex LC connectors on each end) – 10Gig™ 50/125µm. |  |  | FXE10-10M1Y | 56.32 | 12 | 68.32
6 | Scan Tests with Simple Fiber Fluke Networks, Identification and Labeling in Optical Fiber yarn |  |  | N/A | 8 | 12 | 120
Cooper element IDF 7
1 | NetShelter SX 24U 600mm x 1070mm Deep Enclosure |  |  | AR3104 | 1820 | 98 | 1918
1 | Filler Panels 2UR |  |  | DPFP2 | 22 | 8 | 30
1 | Miscellaneous Tray, Black Color, North |  |  | NORTH509-BKL | 16 | 8 | 24
1 | 24-port patch panel supplied with six factory installed CFFP4 type front removable snap-in faceplates. Use label part number C261X030FJJ for laserinkjet printer. |  |  | CPP24WBLY | 30 | 8 | 38
2 | Cable Management - Horizontal, 3.5"H x 20.2"W x 8.9"D (89mm x 513mm x 226mm). Includes extended front covers and two bend radius clips. |  |  | WMPH2E | 70 | 18 | 176
4 | UTP Jack Module, Category 6, RJ45, 8-position, 8-wire universal module. Blue |  |  | CJ688TGBU | 10.4 | 3.2 | 54.4
20 | Blank Module, Mini-Com® 1-port blank module, reserves space for future use. |  |  | CMBBL | 0.3 | 0.1 | 8
4 | Category 6, UTP patch cord with TX6™ PLUS Modular Plugs on each end. |  |  | UTPSP7BU | 10.2 | 0.8 | 44
80 | Enhanced, Category 6, CM, 4-pair, UTP copper cable. Copper conductors are 24 AWG with polyethylene insulation. Conductors are twisted in pairs, and all four pairs are protected by a PVC jacket. Color blue |  |  | PUC6004BU | 0.89 | 0.32 | 96.8
4 | Category 6, UTP patch cord with TX6™ PLUS Modular Plugs on each end. |  |  | UTPSP9BU | 11 | 0.8 | 47.2
4 | Single gang, vertical faceplate accepts two Mini-Com® Modules |  |  | CFPE2WH | 2.6 | 0.8 | 13.6
4 | UTP Jack Module, Category 6, RJ45, 8-position, 8-wire universal module. Blue |  |  | CJ688TGBU | 10.4 | 3.2 | 54.4
4 | White Module, Mini-Com® 1-port blank module, reserves space for future use. |  |  | CMBWH | 0.3 | 0.1 | 1.6
4 | Test, Node Identification and labeling |  |  | N/A | 2.8 | 2.4 | 20.8
1 | Horizontal power strip 15 A, 120V, ten NEMA 5-15R receptacles, one 15 A thermal breaker, 10' power cord with NEMA 5-15P plug. UL and c-UL Listed. Dimensions: 1.7"H x 19.0"W x 3.8"D (44mm x 483mm x 95mm) |  |  | CMRPSH15 | 156 | 8 | 164
INFRAESTRUCTURE
7 | Thin Wall Pipe Conduit 3/4" |  |  | N/A | 4.01 | 1.5223 | 38.7264
1 | Elbow thin wall conduit 3/4" |  |  | N/A | 1.0123 | 0.40492 | 1.4172
9 | Coupling thin wall 3/4" |  |  | N/A | 0.38877 | 0.15551 | 4.8985
4 | Connector 3/4" |  |  | N/A | 0.4 | 0.15378 | 2.2151
4 | Locking and Monitor 3/4" |  |  | N/A | 0.47 | 0.19 | 2.64
2 | Box 2X4" |  |  | N/A | 0.22 | 0.09 | 0.62
14 | Counduit pipe support |  |  | N/A | 6.2 | 4.2 | 145.6
|  |  | Sub Total sin IVA |  | 7022.0372
X | USD | THE PRICES QUOTED IN THE ATTACHED ARE PRICED AS USD AND PAID AS SUCH. THEY DO NOT INCLUDE TAXES.
| MN | THE PRICES QUOTED IN THE ATTACHED ARE PRICED IN THE NATIONAL MONEY AND DOES NOT INCLUDE TAXES.
Grupo Asercom, S.A. de C.V. |  |  | www.grupoasercom.com
Corporativo Monterrey |  |  | Sucursal Guadalajara |  | Sucursal México, D.F.
Joaquín García No. 215, Burócratas del Edo |  |  | Av. Circunvalación Agustín Yáñez No. 2360 Int 4-A |  | Río Lerma No. 26 Col. Cuauhtémoc
Monterrey, N.L. C.P. 64380 |  |  | Col. Arcos Sur Guadalajara, Jal. C.P. 44150 |  | Del. Cuauhtémoc México, D.F. C.P. 06500
Conmutador (81) 1442-4000 |  |  | Tels (33) 3630-5030 y 3630-5033 |  | Tels (55) 5703-0028 y 5703-0141

## Services
GRUPO ASERCOM, S.A. DE C.V.
División Proyectos
To: |  |  |  |  | Date:
BREMBO MEXICO, S.A. DE C.V. |  |  |  |  | Jun 16, 2015
Attention to: |  |  |  |  | Delivery Time:
Héctor Ramirez
Expiration day: |  | 15 days |  |  | Agent:
Terms of Payment: |  | Cash |  |  | Ing. Edgar Robles
In response to your kind request put to it the following quote for the project:
SERVICES
Cant | Description |  |  | Part No. | P.u. Material | P.u. Manpower | Total
| Services | [5 empty] | 0
10 | Car Lift Platform, articulated arm 45 FT (1 week) |  |  | N/A | 0 | 1050 | 10500
1 | Telecom Service (Working at Heights) |  |  | N/A | 0 | 1080 | 1080
|  |  | Sub Total sin IVA |  | 11580
X | USD | THE PRICES QUOTED IN THE ATTACHED ARE PRICED AS USD AND PAID AS SUCH. THEY DO NOT INCLUDE TAXES.
| MN | THE PRICES QUOTED IN THE ATTACHED ARE PRICED IN THE NATIONAL MONEY AND DOES NOT INCLUDE TAXES.
Grupo Asercom, S.A. de C.V. |  |  | www.grupoasercom.com
Corporativo Monterrey |  |  | Sucursal Guadalajara |  | Sucursal México, D.F.
Joaquín García No. 215, Burócratas del Edo |  |  | Av. Circunvalación Agustín Yáñez No. 2360 Int 4-A |  | Río Lerma No. 26 Col. Cuauhtémoc
Monterrey, N.L. C.P. 64380 |  |  | Col. Arcos Sur Guadalajara, Jal. C.P. 44150 |  | Del. Cuauhtémoc México, D.F. C.P. 06500
Conmutador (81) 1442-4000 |  |  | Tels (33) 3630-5030 y 3630-5033 |  | Tels (55) 5703-0028 y 5703-0141